# Pollution Incident Response Management Plan

Cootamundra Gundagai Regional Council

255 Sheridan Street

Gundagai

NSW 2722

Printed copies of this document are uncontrolled

This page intentionally left blank

Contents

Document Control and Management Review	4

Endorsement of Pollution Incident Response Management Plan	4

Pollution Incident Response Plan	4

1 Purpose & Scope	4

2 Process	4

2.1 Definition of Pollution Incident	4

2.2 Potential Incidents	5

2.3 Pre-emptive actions to be taken	5

2.4 Inventory of Pollutants	5

2.5 Safety Equipment	6

2.6 Pollution Incident	6

2.6.1 Council Personnel responsible for the site	7

2.6.2 Notification of external parties	7

2.7 Communicating with neighbours and local community	7

2.8 Minimising harm to persons on the premises	8

2.9 Training, Testing and Review.	8

Appendix A Map	9

Appendix B Environmental Incident Report Form	9

Appendix C Risk Assessments	13

# About this release

| Document Number: | 1.3 |
| --- | --- |
| Title: | Pollution Incident Response Management Plan |
| Author: | Cootamundra Gundagai Regional Council |

| Ed 1 / Rev 4 | 20 June 2016 | Bi-Annual Revision | Director of Asset Management |
| --- | --- | --- | --- |
| Ed 1 / Rev 3 | 14 June 2014 | Final Plan | Director of Engineering Services |
| Ed 1 / Rev 1 | 19 October 2012 | Revision | Director of Engineering Services |
| Ed 1 / Rev 0 | 18 October 2012 | Draft Plan | Director of Engineering Services |
| Issue | Date | Revision Description | Authorised by |

| # Management Review |  |  |  |
| --- | --- | --- | --- |
| Planned Review Date | Scope | Review By | Review Record Ref no. Date |
| October 2012 |  | General Manager, Director of Engineering Services >> and OH&S and Risk Management Officer |  |
| February 2013 |  | General Manager, Director of Engineering Services >> and OH&S and Risk Management Officer |  |
| June 2014 |  | General Manager, Director of Engineering Services >> and OH&S and Risk Management Officer |  |
| June 2016 |  | General Manager, Director of Asset Management >> and WH&S and Risk Management Officer |  |

# Endorsement of Pollution Incident Response Management Plan

| ______________________________ | / / |
| --- | --- |
| General Manager | Date |
| ______________________________ | / / |
| Director of Asset Management | Date |
| ______________________________ WH&S and Risk Management Officer | / / Date |

# Pollution Incident Response Plan

## 1 Purpose & Scope

This Pollution Incident Response Plan (PIRP) has been developed to describe Cootamundra Gundagai Regional Councils response to a potential pollution incident and to meet the requirements of the Protection of the Environment Operations Act (POEO Act 1997)

The plan covers description of potential hazards, actions to be taken to prevent additional environmental harm and details of communication required in the event of an incident. The plan is based on a risk assessment.

## 2 Process

In the event of a pollution incident:

Step 1: Emergency Response: Ensure personnel are safe.

Step 2: Emergency Response: Contain the incident where possible.

Step 3: Notify the Water & Sewer Supervisor.

Step 4: Water & Sewer Supervisor to complete the notification required in section 2.6.2 if the pollution incident meets the definition in section 2.1.

The remainder of this document is set out to meet the requirements of the legislation. Each of the sections below is titled to match the Preparation of pollution incident response management plans document issued by the EPA.

## 2.1 Definition of Pollution Incident

A pollution incident means an incident or set of circumstances during or as a consequence of which there is or is likely to be a leak, spill or other escape or deposit of a substance, as a result of which pollution has occurred, is occurring or is likely to occur. It includes an incident or set of circumstances in which a substance has been placed or disposed of on premises, but it does not include an incident or set of circumstances involving only the emission of any noise.

A pollution incident is required to be notified if there is a risk of ‘material harm to the environment’, which is defined in section 147 of the POEO Act as:

(a) Harm to the environment is material if:

(i) It involves actual or potential harm to the health or safety of human beings or to ecosystems that is not trivial, or

(ii) It results in actual or potential loss or property damage of an amount, or amounts in aggregate, exceeding $10,000 (or such other amount as is prescribed by the regulations), and

(b) Loss includes the reasonable costs and expenses that would be incurred in taking all reasonable and practicable measures to prevent, mitigate or make good harm to the environment.

## 2.2 Potential Incidents

Sewage overflow, raw or partially treated, pose a potential threat to the environment. They could be caused by:

- Storms (lightning/heavy rainfall/wind) causing power failure or damage to infrastructure

- Reticulation blockages

- Damage to reticulation (contractors or other damage during excavations etc.)

- Infrastructure failure due to age

- Excessive flows

- Power outage

- Treatment plant blockage

- Flood.

## 2.3 Pre-emptive actions to be taken

First priority for pre-emptive measures is to eliminate substances that can become potential pollutants. If this is not possible, physical barriers should be installed to prevent pollutants from entering the environment such as bunding and spill drainage containment.

Plant and equipment are available to create additional bunding in the event of significant sediment runoff using material available on site. Any material used for bunding will be assessed in accordance with the Waste Classification Guideline for appropriate disposal.

Cootamundra Gundagai Regional Council also undertakes regular maintenance of it system.

The following is a list of measures undertaken by Council staff and contractors

- Daily checks of waste treatment plant and pumping stations.

- Tree removal where there are repeated chokes

- CCTV and Jetting for repeated chokes

- Cleaning and maintenance of pumps.

## 2.4 Inventory of Pollutants

There are no significant sources of pollutants maintained on site. A small amount of fuel for the pressure washer is located on site.

## 2.5 Safety Equipment

Staff are issued with the following safety equipment

- Rubber Gloves

- Disposable Overalls

- Gas Monitoring and calibration kits

- Safety glasses

- Gumboots

- Work boots

- Sun screen

- Straw hat

- Hard hat

- Confined spaces safety harness.

## 2.6 Pollution Incident

During a pollution incident which involves actual or potential harm to health or safety of human beings or to ecosystems that are not trivial, the Director, or Parks & Gardens Overseer must be notified immediately. The following agencies must be contacted immediately by either the Director or Parks & Gardens Overseer in the following order. When notifying these agencies use form Environmental Incident Report Form located in Appendix 2 to record agency notification.

| Emergency Services (if dealing with an emergency) | Police Fire Ambulance | 000 |
| --- | --- | --- |
| EPA | Environment Line | 131555 |
| NSW Health | Public Health Unit | 02 60808900 (After hours the number is diverted to Albury Base Hospital. Ask for Public Health Officer On Call) |
| WorkCover |  | 131050 |
| Cootamundra Gundagai Regional Council | Council Office | 69440200 |
| Fire and Rescue(if not an emergency) | General Enquires | 133473 |

## 2.6.1 Council Personnel responsible for the site

The following table outlines the council personnel responsible for the site.

The site is manned intermittently with a supervisor depending on requirements.

| Title | Name | Contact Number |
| --- | --- | --- |
| On Call Sewer Operator | Geoff Phillips/Anthony Bell | 0418241934 |
| Water & Sewer Supervisor | Peter Pollack | 0419980498 |
| Director | Phil McMurray | 0413884164 |
| Council Office | Gundagai | 69440200 |

In all situations where there is damage and/or loss to private property or a member of the public is injured or becomes sick due to a pollution incident, contact Councils WHS and Risk Management Officer, Steve Woodland, on 0447 362 979.

## 2.6.2 Notification of external parties

The following table outlines the contact details and correct sequence for notification in the event of a notifiable pollution incident.

| Emergency Services (if dealing with an emergency) | Police Fire Ambulance | 000 |
| --- | --- | --- |
| EPA | Environment Line | 131555 |
| WorkCover |  | 131050 |
| Cootamundra Gundagai Regional Council | Gundagai Office | 69440200 |
| Fire and Rescue(if not an emergency) | General Enquires | 133473 |

Council would also consider contacting the Green Keeper at the Gundagai Golf Course, on 0439789226 if an incident has the potential to impact on the golf course.

## 2.7 Communicating with neighbours and local community

The site has signage indicating the contact details for community feedback.

In the event of a notifiable incident neighbouring properties will be door knocked or phoned to advise of the situation.

The table bellows outlines the local medi9a outlets that will be contacted.

| Organisation | Phone | Fax |
| --- | --- | --- |
| Sounds of the Mountains Radio | 69479100 | 69479963 |
| ABC Local Radio | 69234811 | 69234899 |
| Gundagai Independent | 69441027 | 69442222 |
| Triple M/93.1 Star FM Radio | 69211022 | 69217193 |
| The Daily Advertiser | 69383300 | 69216950 |

Contaminated land is to be disinfected, ponded sewage pumped out and faecal coliforms are to be monitored until back ground levels are reached.

The Sewage Treatment Plant is located on the river flats adjacent to the golf course. There are no other private land holders/ or residences adjourning the treatment plant (Appendix A. Map), other than the golf course. The inflow into the plant and the available storage means that the potential for an overflow affecting any neighbours is low. In the event of incident and overflow escaping containment areas or in times of flood, and the there is a potential for it to impact on the community, then the organisations listed above would be notified.

## 2.8 Minimising harm to persons on the premises

Refer to the emergency response plan for the site. At all times minimising harm to persons shall be a priority.

## 2.9 Training, Testing and Review.

There is a very low risk of a pollution incident occurring. Council will review the PIRP after 12 months and create a new version at 24 months. Testing the plan will be carried out at the time of review.

All staff will be trained in the PIMRP and records maintained in the corporate training system.

A copy of this plan will be uploaded to the Council website and kept within the site folder.

## Appendix A Map

## Appendix B Environmental Incident Report Form

The following form must be filled out when reporting a pollution incident as outlined in Section 2.6, Pollution Incident

## Appendix C Risk Assessments

This policy shall be reviewed on an Bi-Annual basis in consultation with the Occupational Health and Safety Committee and Consultative Committee.

OFFICE USE ONLY:

Version No:	3

Date Adopted:	 20 June 2016

Review Date:	20 June 2016