## Fortnightly sampling
Fortnightly Sampling of Treated Effluent - Bidgee Banks Golf Course (Irrigation) | [59 empty] | Fortnightly Sampling of Treated Effluent - Bidgee Banks Golf Course (Irrigation)
Parameter | Units | [94 empty] | Average | time axis 2018-02-01 to 2022-07-26
Biochemical Oxygen Demand | mg/L | 5 | 10 | 8 | 25 | 8 | 15 | 23 | 9 | 14 | 59 | 9 | 8 | 14 | 16 | 10 | 6 | 6 | 8 | 9 | 10 | 10 | 11 | 8 | 8 | 12 | 2 | 12 | 6 | 9 | 20 | 3 | 4 | 12 | 12 | 17 | 12 | 12 | 11 | 11 | 7 | 12 | 16 | 7 | 9 | 17 | <2 | <2 | <2 | 3 | 6 | 31 | 26 | 12 | 16 | 6 | 17 | 8 | 10 | 27 | 20 | 9 | 16 | 9 | 7 | 8 | 7 | 5 | 6 | 2 | 4 | 4 | 7 | 15 | 17 | <2 | 5 | 8 | <2 | <2 | 15 | 14 | 5 | 8 | 15 | 13 | 7 | 14 | 20 | 15 | 35 | 15 | 9 | 18 | 19 | 12.1023
Calcium (dissolved) | mg/L |  |  |  |  | 18.2 | 13 | 14.6 | 12.1 | 11.1 | 27.5 | 21.4 | 18.9 | 21.8 | 27 | 24.8 | 21.2 | 23.3 | 21.8 | 26.7 | 22.6 | 15.6 | 21 | 12 | 30.4 | 26.2 | 28.4 | 21.2 | 15.7 | 15.9 | 18 | 16.5 | 17.8 | 16 | 17.2 | 17.6 | 20.5 | 17.8 | 20.1 | 22.7 | 25.3 | 20.7 | 22.8 | 22.5 | 22.3 | 24.9 | 25.9 | 23.6 | 26.2 | 22.6 | 23.2 | 21.1 | 24.9 | 19.7 | 15.7 | 12.8 | 13.6 | 16.7 | 18.6 | 19 | 18.3 | 20.4 | 25.5 | 20.9 | 21.3 | 21.6 | 20.2 | 19.3 | 19.4 | 26.9 | 23 | 25.5 | 21 | 22.4 | 25.1 | 22 | 21.5 | 20.7 | 24.3 | 23.4 | 19.5 | 20.7 | 20.1 | 21.2 | 17.3 | 18.7 | 20.1 | 18 | 20 | 19.8 | 18.1 | 19.2 | 20.1 | 20.5 | 19.8 | 20.6056
Faecal coliforms | cfu/100mL | 30 | 330 | 45 | 6160 | 1 | 100 | 50 | 444 | 10 | 90 | 734 | 2600 | 6000 | 5600 | 6560 | 300 | 50 | 1 | 83 | 20 | 37 | 119 | 64 | 606 | 101 | 28 | 192 | 606 | 5050 | 550 | 140 | 10 | 505 | 2020 | 1410 | 800 | 210 | 3500 | 108 | 3670 | 111 | 26700 | 5110 | 222 | 73 | <1 | <1 | <1 | 70 | <1 | 1440 | <1 | 667 | 444 | 394 | 1440 | 556 | 55 | 1210 | 2420 | 1220 | 3000 | 333 | 3330 | 1220 | 128 | 9 | 100 | 4 | 30 | 22 | 102 | <1 | 4 | <1 | 130 | 50 | 30 | 400 | 1940 | 360 | 4100 | 400 | 740 | 5000 | 330 | 24 | 1720 | 980 | 2280 | <1 | 348 | 184 | 3560 | 1417.7209
Conductivity | μS/cm | 440 | 489 | 797 | 585 | 490 | 480 | 493 | 515 | 523 | 657 | 533 | 575 | 617 | 646 | 611 | 689 | 722 | 775 | 796 | 810 | 836 | 774 | 798 | 815 | 796 | 722 | 645 | 533 | 523 | 548 | 496 | 524 | 496 | 490 | 466 | 514 | 535 | 553 | 619 | 699 | 793 | 815 | 764 | 758 | 669 | 695 | 734 | 677 | 674 | 588 | 540 | 533 | 524 | 487 | 485 | 482 | 448 | 442 | 480 | 445 | 517 | 570 | 596 | 635 | 644 | 649 | 584 | 603 | 651 | 563 | 575 | 587 | 593 | 566 | 632 | 662 | 552 | 620 | 593 | 580 | 600 | 610 | 560 | 874 | 560 | 556 | 606 | 580 | 590 | 595 | 590 | 622 | 622 | 678 | 609.2872
Magnesium (dissolved) | mg/L |  |  |  |  | 6.56 | 5.23 | 5.63 | 3.82 | 3.93 | 12.7 | 9.4 | 6.98 | 9.13 | 12 | 8.83 | 9.28 | 8.94 | 8.64 | 9.85 | 7.9 | 5.14 | 8 | 5.6 | 7.61 | 7.15 | 4.54 | 4.9 | 5.78 | 5.32 | 5.63 | 5.08 | 5.17 | 5.1 | 6.5 | 5.92 | 6.45 | 6 | 7.14 | 8.59 | 9.2 | 7.54 | 8.83 | 8.63 | 8.43 | 10.5 | 10.2 | 9.25 | 9.23 | 9.84 | 7.9 | 9.06 | 10.5 | 9.48 | 7.13 | 6.24 | 6.36 | 7.68 | 8.03 | 8.43 | 7.71 | 9.53 | 10.1 | 7.69 | 7.29 | 7.12 | 7.28 | 8.5 | 9.1 | 12 | 12.2 | 16.6 | 19.4 | 22.3 | 20.1 | 24.9 | 23.9 | 23.3 | 29.2 | 32.8 | 25 | 28.2 | 24.7 | 25.5 | 16.3 | 23 | 22.9 | 15.9 | 20.1 | 20.1 | 16.1 | 17.1 | 20.1 | 20.1 | 25 | 11.6447
Nitrogen, total | mg/L | 3 | 7 | 39 | 32 | 10 | 11 | 12 | 11 | 14 | 15 | 23 | 21 | 24 | 23 | 23 | 32 | 30 | 37 | 42 | 43 | 44 | 38 | 39 | 39 | 37 | 31 | 24 | 13 | 7 | 6 | 4 | 4 | 8 | 11 | 8 | 14 | 15 | 10 | 15 | 27 | 24 | 42 | 36 | 34 | 29 | 27 | 30 | 26 | 26 | 12 | 16 | 11 | 11 | 10 | 9 | 11 | 10 | 8 | 4 | 13 | 15 | 18 | 21 | 23 | 29 | 23 | 26 | 30 | 24 | 16 | 16 | 14 | 13 | 12 | 17 | 5 | 14 | 6 | 12 | 17 | 10 | 10 | 8 | 16 | 10 | 15 | 12 | 22 | 27 | 24 | 24 | 8 | 28 | 32 | 19.4894
Nitrate/Nitrite as N | mg/L |  |  |  |  | 5.1 | 3.9 | 4.1 | 4.3 | 4.5 | <0.1 | 11.1 | 11.1 | 8 | 8.8 | 7.8 | 5.9 | 2.8 | 4 | 5.2 | 5.6 | 5 | 0.6 | 3.7 | 1.6 | 0.1 | 2.1 | 4.3 | 7.7 | 4.4 | 1.5 | <0.1 | <0.1 | 4.3 | 6.6 | 3.5 | 10 | 8.6 | <0.1 | <0.1 | 3.4 | 2.1 | 6.1 | 3.6 | 3.6 | 7 | 6.2 | 6.9 | 8.1 | 5.5 | 3.8 | 12.6 | 8 | 6.9 | 5.6 | 2.9 | 2.3 | 3.1 | 5.2 | <0.5 | 9.5 | 10 | 11 | 6.4 | 3.3 | 3 | 4.3 | 5.6 | 5.5 | 3.5 | 0.4 | <0.1 | 0.5 | 0.4 | 0.2 | 13 | <0.1 | 12.4 | 2.9 | 9.5 | 4.8 | 5 | 3.2 | 3.8 | 3.5 | 4.9 | 10 | 3.6 | 10 | 10 | 8.5 | 4.1 | 8.1 | 4.5 | 7.6 | 5.5134
Oil & Grease | mg/L | 1 | 2 | 3 | 3 | 3 | 3 | 3 | <1 | 3 | 1 | 1 | 4 | 2 | 3 | 2 | <2 | 1 | 2 | 3 | <1 | <1 | 7 | 1 | 2 | 6 | 3 | 1 | 2 | 2 | <1 | 1 | 1 | 2 | 6 | 3 | 3 | <1 | 2 | 2 | 6 | 2 | 4 | 3 | 6 | 16 | 1 | 2 | 3 | 4 | 4 | 2 | 5 | 2 | 3 | 2 | 2 | 1 | 9 | 8 | 3 | <1 | 5 | 7 | 4 | 5 | 2 | 1 | 3 | 3 | 3 | 4 | 3 | 4 | 1 | 2 | 2 | 2 | 4 | 4 | <1 | <1 | 3 | 5 | <1 | 1 | 2 | <1 | 4 | 4 | 4 | 1 | 4 | 3 | 3 | 3.1928
Phosphorus, Total | mg/L | 1 | 2.46 | 7.16 | 8.77 | 6.6 | 3.69 | 4.67 | 1.89 | 3.27 | 5.82 | 3.14 | 3.91 | 4.94 | 3.53 | 2.89 | 3.7 | 2.6 | 4.21 | 6.01 | 8.16 | 5.57 | 6.5 | 6.39 | 3.95 | 9.38 | 12.7 | 12.9 | 9.36 | 8.06 | 11.3 | 5.09 | 4.68 | 3.74 | 3.13 | 4.33 | 2.73 | 2.24 | 1.98 | 3.78 | 4.03 | 3.98 | 7.36 | 7.27 | 6.22 | 3.84 | 4.3 | 4.4 | 3.84 | 6.12 | 7.22 | 4.89 | 3.92 | 3.96 | 3.18 | 2.61 | 3.25 | 3.62 | 3.09 | 3.18 | 3.43 | 2.91 | 3.14 | 3.82 | 1.71 | 3.77 | 4.78 | 3.99 | 4.43 | 4.01 | 4.22 | 4.3 | 4.12 | 4.18 | 3.28 | 2.59 | 2.9 | 2.06 | 2.88 | 2.78 | 2.66 | 3.21 | 2.62 | 2.55 | 2.55 | 4.16 | 2.88 | 3.66 | 2.91 | 2.99 | 5.44 | 5.1 | 5.34 | 5.11 | 5.14 | 4.4907
pH | pH units | 9.4 | 9.4 | 7.8 | 8.4 | 7.3 | 8.6 | 7.4 | 8 | 8.9 | 6.8 | 7.5 | 8 | 7.6 | 7.5 | 7.8 | 7.6 | 7.9 | 7.7 | 7.7 | 8 | 7.8 | 7.3 | 7.7 | 7.8 | 7.5 | 7.8 | 7.9 | 7.8 | 7.2 | 7.1 | 6.7 | 7.2 | 7.3 | 7.6 | 7.3 | 7.4 | 7.8 | 7 | 7.1 | 6.4 | 7.5 | 7.4 | 7.6 | 7.6 | 7.4 | 7.4 | 7.6 | 7.5 | 7.9 | 7 | 6.3 | 7.8 | 7.2 | 8.3 | 9.3 | 8.1 | 7.7 | 7.8 | 7.2 | 7.4 | 7.4 | 6.9 | 7.4 | 7.2 | 7.2 | 7.4 | 7.4 | 7.6 | 7.4 | 7.5 | 7.6 | 7.9 | 7.9 | 7.7 | 7.8 | 7.3 | 7.4 | 8.2 | 7.6 | 8 | 9.2 | 9.2 | 9.1 | 8.9 | 9.2 | 8.8 | 7.4 | 7.7 | 7.6 | 7 | 7.3 | 7.9 | 8 | 7.7 | 7.7106
Sodium Adsorption Ratio | Ratio | 3 | 3 | 3 | 3 | 4 | <1 | 4 | 5 | 5 | 3 | 4 | 3 | 4 | 5 | 3 | 3 | 3 | 3 | 5 | 3 | 3 | 3 | 3 | 3 | 3 | 4 | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 4 | 2 | 3 | 3 | 3 | 4 | 3 | 2 | 2 | 3 | 2 | 3 | 3 | 3 | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 1 | 1 | 1 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 2.7419
Sodium (dissolved) | mg/L |  |  |  |  | 70.1 | 5.64 | 69.8 | 76.4 | 79.4 | 72.2 | 83 | 65.9 | 96.7 | 128 | 74.2 | 61.5 | 62 | 68.3 | 131 | 62.2 | 44.8 | 60 | 55 | 78.8 | 75.5 | 88.6 | 65.4 | 55.7 | 69.4 | 73.3 | 68.8 | 80.4 | 70.4 | 60.9 | 50.9 | 70.3 | 62.2 | 55.4 | 62.8 | 73.6 | 62.6 | 72.5 | 68.8 | 64.2 | 68.2 | 62.6 | 53.7 | 50.6 | 60.7 | 82 | 33.9 | 68.5 | 67.8 | 65.4 | 62.5 | 49.9 | 45.8 | 50.8 | 56.3 | 50.7 | 67 | 72.5 | 57 | 51 | 53.4 | 58.9 | 45.2 | 44.2 | 61.3 | 43.8 | 46.2 | 43.9 | 47.9 | 45.5 | 64.3 | 68.9 | 46 | 67.1 | 49.1 | 41.7 | 47.8 | 42.1 | 43.3 | 28 | 52.8 | 53.8 | 28 | 50.1 | 55.1 | 29 | 33.1 | 36.5 | 35.8 | 42.1 | 59.7604
Total Kjeldahl Nitrogen | mg/L |  |  |  |  | 5 | 7 | 8 | 7 | 9 | 15 | 12 | 10 | 16 | 14 | 15 | 26 | 27 | 33 | 37 | 37 | 39 | 37 | 35 | 37 | 37 | 29 | 20 | 5 | 3 | 5 | 4 | 4 | 4 | 4 | 5 | 4 | 6 | 10 | 15 | 24 | 22 | 36 | 32 | 30 | 22 | 21 | 23 | 18 | 20 | 8 | 3 | 3 | 4 | 4 | 6 | 9 | 7 | 3 | 4 | 3 | 5 | 7 | 15 | 20 | 26 | 19 | 20 | 24 | 20 | 16 | 16 | 13 | 13 | 12 | 4 | 5 | 2 | 3 | 3 | 12 | 5 | 7 | 4 | 12 | 5 | 5 | 8 | 12 | 17 | 16 | 20 | <2 | 24 | 24 | 14.573
Total Suspended Solids | mg/L | 44 | 78 | 7 | 73 | 15 | 49 | 74 | 79 | 142 | 28 | 33 | 70 | 54 | 35 | 15 | <2 | 13 | <2 | 7 | 7 | 29 | 7 | 7 | 10 | 3 | 20 | 105 | 74 | 8 | 8 | 15 | 20 | 52 | 56 | 58 | 50 | 49 | 21 | 26 | 28 | 12 | 14 | 10 | 6 | 37 | 7 | 6 | 8 | 20 | 34 | 39 | 35 | 40 | 43 | 40 | 94 | 17 | 19 | 41 | 34 | 21 | <2 | 7 | 5 | 9 | 3 | 2 | 5 | <2 | 4 | 17 | 14 | 21 | 35 | 29 | 31 | 15 | 22 | 24 | 38 | 37 | 37 | 18 | 39 | 36 | 26 | 40 | 30 | 33 | 17 | 8 | 13 | 20 | 22 | 30.0333
`
Fortnightly Sampling of Treated Effluent - Bidgee Banks Golf Course (Golf Course Pond Inlet) |  | 2021-03-16: Fortnightly Sampling of Treated Effluent - Bidgee Banks Golf Course (Golf Course Pond Inlet)
Parameter | Units | [94 empty] | Average | time axis 2019-01-14 to 2022-07-26
Biochemical Oxygen Demand | mg/L |  |  |  |  | 28 | 21 | 29 | 34 | 33 | 29 | 30 | 31 | 19 | 31 | 24 | 11 | 10 | 12 | 11 | 6 | 10 | 12 | 6 | 10 | 13 | 5 | 14 | 9 | 31 | 26 | 14 | 28 | 44 | 27 | 46 | 29 | 32 | 19 | 20 | 37 | 21 | 9 | 10 | 10 | 41 | 7 | 14 | 10 | 12 | 23 | 27 | 40 | 33 | 36 | 39 | 34 | 27 | 37 | 46 | 38 | 27 | 84 | 10 | 12 | 15 | 6 | 5 | 6 | 5 | 9 | 6 | 10 | 22 | 13 | 8 | 11 | 8 | 12 | 11 | 10 | 10 | 21 | 15 | 21 | 28 | 25 | 20 | 46 | 41 | 38 | 11 | 11 | 24 | 13 | 21.3222
Calcium (dissolved) | mg/L |  |  |  |  | 18.3 | 15.4 | 17.5 | 14 | 12.1 | 19.2 | 23.2 | 20.9 | 21.9 | 28.6 | 23 | 22.2 | 25 | 21.5 | 26.1 | 23.4 | 13.7 | 19 | 11 | 27 | 23 | 27.8 | 18.7 | 8.53 | 16 | 16.7 | 14.5 | 15.9 | 17.2 | 19.4 | 19 | 24.1 | 26.5 | 21.4 | 24.4 | 24.5 | 20.8 | 22.2 | 22 | 23 | 26.5 | 27 | 25 | 26 | 21.7 | 21.8 | 21.4 | 23.2 | 17.3 | 14.5 | 12.6 | 13.8 | 18.5 | 18.4 | 19.7 | 19 | 22.1 | 23 | 20.8 | 21 | 21.9 | 20 | 19.4 | 19.1 | 23.6 | 23.7 | 23.5 | 21.8 | 22.1 | 22.2 | 21.1 | 17.7 | 19.4 | 24.2 | 21.8 | 19.8 | 202 | 20.2 | 21.5 | 19.2 | 20.8 | 21.2 | 19.5 | 21 | 21.1 | 19.1 | 19.8 | 21.9 | 21.5 | 20.1 | 22.5792
Faecal coliforms | cfu/100mL |  |  |  |  | 2500 | 96700 | 3670 | 34400 | 22500 | 60000 | 36000 | 73000 | 169000 | 96000 | 193000 | 10800 | 37400 | 150 | 10000 | 55 | 4500 | 2020 | 8590 | 25600 | 178000 | 1620 | 3160 | 4340 | 122000 | 50200 | 27000 | 33300 | 33300 | 28300 | 48500 | 280000 | 20000 | 222000 | 14000 | 100000 | 55600 | 233000 | 27800 | 4040 | 5050 | 7070 | 2520 | 6670 | 88900 | 3030 | 147000 | 77800 | 5560 | 10000 | 11100 | 93300 | 88900 | 22200 | 267000 | 88900 | 45600 | 378000 | 42200 | 100000 | 54400 | 1820 | 1110 | <1 | 2000 | 667 | 6 | 140 | 5960 | 100 | 1020 | 23600 | 909 | 14400 | 280 | 188 | 526 | 110 | 940 | 39000 | 24000 | 6100 | 166 | 116000 | 2300 | 6000 | <1 | 320 | 164 | 4890 | 47385.9205
Conductivity | μS/cm |  |  |  |  | 504 | 544 | 1940 | 546 | 508 | 548 | 600 | 661 | 664 | 712 | 671 | 780 | 780 | 809 | 842 | 837 | 816 | 795 | 816 | 795 | 690 | 704 | 618 | 457 | 572 | 543 | 480 | 434 | 537 | 497 | 537 | 569 | 627 | 690 | 725 | 693 | 788 | 740 | 747 | 742 | 648 | 749 | 740 | 651 | 660 | 563 | 622 | 563 | 528 | 496 | 486 | 425 | 470 | 505 | 529 | 464 | 570 | 649 | 660 | 670 | 668 | 656 | 582 | 570 | 565 | 620 | 649 | 618 | 648 | 644 | 624 | 476 | 531 | 585 | 630 | 570 | 555 | 570 | 565 | 580 | 596 | 574 | 630 | 620 | 602 | 598 | 600 | 634 | 676 | 685 | 636.9667
Magnesium (dissolved) | mg/L |  |  |  |  | 5.92 | 5.46 | 6.77 | 4.22 | 3.9 | 6.67 | 9.2 | 7.43 | 8.86 | 12.2 | 7.81 | 9.55 | 9.14 | 7.89 | 10.1 | 8.29 | 4.18 | 6.4 | 4.6 | 6.67 | 5.94 | 4.43 | 4.25 | 4.41 | 5.32 | 4.14 | 3.85 | 4.16 | 4.96 | 6.82 | 6.18 | 7.62 | 9.42 | 7.5 | 8.38 | 9.31 | 8.22 | 8.25 | 8.81 | 9.19 | 12.8 | 10.2 | 9.05 | 8.93 | 9.52 | 8.35 | 9.96 | 10.1 | 8.03 | 6.13 | 5.55 | 5.69 | 9.05 | 7.79 | 7.56 | 7.91 | 9.91 | 8.39 | 7.05 | 6.82 | 7.08 | 7.23 | 8.81 | 10.7 | 16.9 | 20.1 | 21.1 | 22.1 | 24 | 23.5 | 26.6 | 19.4 | 23.4 | 32.5 | 30.4 | 24.5 | 27 | 24.8 | 25.1 | 17.2 | 22.8 | 20 | 16.8 | 20 | 20.1 | 16.5 | 18 | 19.5 | 20.8 | 25.1 | 11.747
Nitrogen, total | mg/L |  |  |  |  | 26 | 27 | 26 | 26 | 25 | 33 | 28 | 39 | 29 | 36 | 34 | 43 | 43 | 47 | 49 | 48 | 47 | 47 | 44 | 40 | 35 | 30 | 22 | 16 | 17 | 15 | 27 | 21 | 23 | 20 | 24 | 26 | 24 | 31 | 31 | 36 | 34 | 31 | 38 | 34 | 25 | 35 | 36 | 30 | 27 | 19 | 23 | 20 | 17 | 16 | 18 | 18 | 20 | 17 | 17 | 18 | 23 | 35 | 29 | 24 | 34 | 28 | 29 | 28 | 21 | 23 | 23 | 19 | 18 | 18 | 25 | 20 | 14 | 8 | 13 | 13 | 10 | 15 | 14 | 13 | 14 | 22 | 17 | 28 | 29 | 26 | 27 | 30 | 32 | 32 | 26.4667
Nitrate/Nitrite as N | mg/L |  |  |  |  | 6.6 | 7 | 8.1 | 8.3 | 8.1 | 9.6 | 16.7 | 14.7 | 8.6 | 9.7 | 8.2 | 6.8 | 6.7 | 9.4 | 8.8 | 8 | 7 | 8.7 | 4.9 | 2.2 | 1.9 | 2.2 | 4.1 | 4.1 | 4.2 | 2 | 7.6 | 7.4 | 11 | 9.3 | 6.9 | 12 | 8.7 | 5.8 | 5.6 | 5 | 4.9 | 2.3 | 6.6 | 6.6 | 7.9 | 11 | 9.6 | 9.2 | 5.4 | 7.4 | 7.9 | 8.3 | 8.1 | 6.4 | 4.2 | 5.3 | 6.6 | 8.4 | 5.9 | 13.2 | 11 | 11 | 6 | 5.4 | 4.5 | 5.5 | 6.4 | 7.8 | 5 | 7 | 7 | 6.6 | 6.8 | 6.5 | 16 | 11.9 | 10.9 | 3.4 | 8 | 2.9 | 4.2 | 4.3 | 3.9 | 2.9 | 5.4 | 11 | 3 | 11 | 12 | 8.5 | 4.6 | 8.4 | 5.6 | 6.7 | 7.2467
Oil & Grease | mg/L |  |  |  |  | 7 | 5 | 7 | 5 | 7 | 3 | 2 | 6 | 2 | 4 | 3 | 2 | 2 | 4 | 4 | <1 | 1 | 1 | <1 | 2 | 7 | 3 | <1 | 2 | 4 | <1 | 2 | 2 | 2 | 3 | 4 | 3 | 1 | 1 | 1 | 4 | 3 | 3 | 8 | 4 | 7 | <1 | 3 | 3 | 3 | 4 | 2 | 7 | 2 | 4 | 2 | <1 | 1 | 7 | 6 | 2 | <1 | 3 | 8 | 3 | 8 | 1 | 1 | 3 | 2 | 4 | 4 | 2 | 5 | 2 | 3 | 3 | 2 | 5 | 3 | 1 | 2 | 1 | 2 | 1 | 1 | 2 | 1 | 3 | 3 | 6 | 1 | 3 | 2 | 2 | 3.253
Phosphorus, Total | mg/L |  |  |  |  | 6.71 | 7.05 | 6.69 | 5.87 | 6.17 | 5.62 | 4.45 | 7.54 | 6.26 | 5.56 | 4.54 | 6.57 | 5.39 | 6.6 | 6.99 | 8.57 | 6.12 | 7.56 | 7.84 | 6.32 | 10.2 | 13.5 | 13.8 | 9.49 | 8.88 | 30 | 4.87 | 4.85 | 6.36 | 4.03 | 4.79 | 3.3 | 3.48 | 4.82 | 6.98 | 5.16 | 5.54 | 6.19 | 7.31 | 4.72 | 3.73 | 4.79 | 5.08 | 4.65 | 7.86 | 6.8 | 5.46 | 4.67 | 4.88 | 4.36 | 5.24 | 4.12 | 4.57 | 4.67 | 2.45 | 4.31 | 3.74 | 4.99 | 4.07 | 2.82 | 3.95 | 4.93 | 3.96 | 3.99 | 4.22 | 3.84 | 3.95 | 4.25 | 4.22 | 4.21 | 3.79 | 3.49 | 2.49 | 4.84 | 4.88 | 3.81 | 3.93 | 3.88 | 3.89 | 3.89 | 6.37 | 3.88 | 3.92 | 3.95 | 4.01 | 5.44 | 5.1 | 5.47 | 5.5 | 5.09 | 5.6566
pH | pH units |  |  |  |  | 7.6 | 8.7 | 9.4 | 8.6 | 9.2 | 8.5 | 8.5 | 8.5 | 7.8 | 8 | 8 | 7.7 | 7.7 | 7.7 | 7.7 | 7.8 | 7.7 | 7.4 | 7.9 | 7.9 | 7.8 | 8.4 | 8.2 | 9.4 | 8 | 7.6 | 6.7 | 9.4 | 8.7 | 7.5 | 9.1 | 8.7 | 8.1 | 7.3 | 7.6 | 6.9 | 7.8 | 7.5 | 7.6 | 7.6 | 7.6 | 7.4 | 7.7 | 7.5 | 7.9 | 7.2 | 7.2 | 8.8 | 8.7 | 8.9 | 9.4 | 9.1 | 8.7 | 8.4 | 8.1 | 8.2 | 7.7 | 7.4 | 7.5 | 7.4 | 7.6 | 7.5 | 7.5 | 7.6 | 7.5 | 7.6 | 7.6 | 8.3 | 8 | 7 | 8.4 | 7.5 | 7.9 | 9.3 | 8.3 | 8.2 | 9.4 | 9.3 | 9.7 | 8.7 | 8.8 | 8.1 | 7.4 | 7.8 | 7.6 | 7.4 | 7.4 | 7.9 | 7.9 | 7.8 | 8.0444
Sodium Adsorption Ratio | Ratio |  |  |  |  | 3 | 1 | 4 | 4 | 4 | 3 | 4 | 3 | 4 | 5 | 3 | 3 | 3 | 3 | 5 | 3 | 2 | 3 | 4 | 3 | 3 | 4 | 3 | 5 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 3 | 2 | 3 | 3 | 3 | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 1 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 2 | 1 | 2.6778
Sodium (dissolved) | mg/L |  |  |  |  | 63.6 | 5.4 | 75.5 | 72.5 | 68 | 63.2 | 83.9 | 66.4 | 98.2 | 127 | 67 | 62.8 | 60.6 | 65.8 | 127 | 65.7 | 40.1 | 51 | 59 | 74.8 | 71.5 | 88.4 | 62.3 | 68.9 | 70.3 | 67.7 | 61.7 | 67.8 | 65.8 | 61.3 | 54.8 | 77.2 | 82.7 | 59.9 | 68.8 | 72.5 | 67 | 64.4 | 63.2 | 61 | 75.8 | 60.7 | 56 | 44.5 | 59.6 | 67.1 | 34.4 | 68.9 | 66.5 | 62.9 | 58.4 | 41.5 | 48.1 | 53.6 | 56.5 | 49 | 72.2 | 66 | 55.5 | 51.5 | 53.5 | 58 | 44.3 | 39.1 | 43.5 | 47.1 | 50.8 | 46.3 | 50.9 | 49.9 | 53.2 | 37 | 43.6 | 57.3 | 41.8 | 41.1 | 47.6 | 43 | 42.8 | 29.3 | 53.4 | 54.7 | 29 | 55.8 | 59.8 | 29.5 | 33.5 | 38.5 | 41.5 | 41.5 | 58.4522
Total Kjeldahl Nitrogen | mg/L |  |  |  |  | 19 | 20 | 18 | 18 | 17 | 23 | 11 | 24 | 20 | 26 | 26 | 36 | 36 | 38 | 40 | 40 | 40 | 38 | 39 | 38 | 33 | 28 | 18 | 12 | 13 | 13 | 19 | 14 | 12 | 11 | 17 | 14 | 15 | 25 | 25 | 31 | 29 | 29 | 31 | 27 | 17 | 24 | 26 | 21 | 22 | 12 | 15 | 12 | 9 | 10 | 14 | 13 | 13 | 9 | 11 | 5 | 12 | 24 | 23 | 29 | 29 | 22 | 23 | 20 | 16 | 16 | 16 | 12 | 11 | 11 | 9 | 8 | 3 | 5 | 5 | 10 | 6 | 11 | 10 | 10 | 9 | 11 | 14 | 17 | 17 | 17 | 22 | 22 | 26 | 25 | 19.3
Total Suspended Solids | mg/L |  |  |  |  | 124 | 160 | 128 | 149 | 137 | 101 | 86 | 71 | 49 | 49 | 48 | 2 | 11 | 9 | 5 | 14 | 7 | 7 | 7 | 10 | 19 | 23 | 48 | 93 | 74 | 47 | 164 | 39 | 63 | 134 | 131 | 111 | 58 | 43 | 26 | 66 | 47 | 9 | 11 | 12 | 10 | 6 | 17 | 13 | 30 | 51 | 72 | 74 | 62 | 70 | 68 | 96 | 78 | 80 | 88 | 52 | 37 | 36 | 11 | 11 | 16 | <2 | 4 | 5 | 5 | <2 | 8 | 20 | 23 | 18 | 24 | 33 | 32 | 50 | 52 | 58 | 60 | 89 | 30 | 59 | 48 | 59 | 55 | 60 | 58 | 14 | 7 | 7 | 18 | 26 | 48.7727
Bidgee Banks Golf Course (Maturation Pond Outlet) | [5 empty] | 2021-03-16: Bidgee Banks Golf Course (Maturation Pond Outlet)
Parameter | Units | [94 empty] | Average | time axis 2019-02-13 to 2022-07-26
Biochemical Oxygen Demand | mg/L | [6 empty] | 21 | 18 | 29 | 29 | 20 | 18 | 13 | 21 | 28 | 12 | 9 | 10 | 10 | 8 | 10 | 19 | 12 | 9 | 10 | 3 | 17 | 12 | 64 | 35 | 18 | 26 | 44 | 38 | 41 | 22 | 32 | 43 | 23 | 30 | 24 | 13 | 26 | 10 | 7 | 10 | 21 | 13 | 20 | 13 | 33 | 30 | 17 | 21 | 35 | 24 | 20 | 27 | 5 | 24 | 35 | 80 | 15 | 17 | 20 | 22 | 7 | 8 | 7 | 8 | 10 | 18 | 41 | 11 | 10 | 17 | 10 | 19 | 20 | 10 | 22 | 22 | 16 | 18 | 27 | 35 | 18 | 30 | 29 | 16 | 7 | 11 | 13 | 18 | 20.6136
Calcium (dissolved) | mg/L | [6 empty] | 16.4 | 13.6 | 14 | 19.3 | 24 | 20.7 | 21.9 | 27.5 | 22.1 | 22.1 | 24 | 22 | 26.3 | 22.9 | 13.7 | 19 | 11 | 27.3 | 21.3 | 26 | 15.6 | 7.89 | 16 | 16.4 | 14.1 | 14 | 17.1 | 19.3 | 18.9 | 24.6 | 21.2 | 22.3 | 23.5 | 25.2 | 22.7 | 22.5 | 21.9 | 24.5 | 25.3 | 28 | 25.4 | 25.7 | 23.5 | 21.8 | 21.3 | 22.2 | 15.2 | 12.9 | 13.3 | 13.9 | 18.5 | 18.5 | 19.9 | 19.9 | 24.4 | 25.8 | 20.2 | 20.8 | 22.3 | 19.8 | 21 | 19.9 | 25.4 | 24.6 | 22.4 | 22.3 | 21.5 | 21.6 | 20.9 | 18.4 | 20.6 | 22.9 | 23 | 19.3 | 19.6 | 20.1 | 21.4 | 20 | 21 | 21.5 | 20 | 21.2 | 21.8 | 20 | 20 | 20.9 | 21.4 | 19.5 | 20.609
Faecal coliforms | cfu/100mL | [6 empty] | 6560 | 40000 | 15100 | 83300 | 41000 | 68000 | 187000 | 103000 | 212000 | 13600 | 12100 | 340 | 10000 | 100 | 4500 | 2420 | 44400 | 90000 | 178000 | 8890 | 6400 | 4020 | 178000 | 51100 | 34000 | 149000 | 26300 | 45400 | 52500 | 300000 | 100000 | 3330000 | 12700 | 100000 | 44400 | 66700 | 62200 | 1010 | 13100 | 7070 | 2420 | 16700 | 116000 | 3030 | 178000 | 44400 | 7780 | 15600 | 32200 | 200000 | 200000 | 122000 | 344000 | 156000 | 164000 | 811000 | 31100 | 187000 | 244000 | 13300 | 8890 | 100 | 4800 | 778 | 20 | 238 | 8000 | 116 | 1820 | 21700 | 5560 | 13300 | 640 | 9500 | 3100 | 12600 | 20 | 54000 | 101000 | 15500 | 4900 | 9600 | 9200 | 21900 | 2 | 4200 | 98 | 19900 | 101411.6136
Conductivity | μS/cm | [6 empty] | 546 | 561 | 497 | 544 | 609 | 659 | 696 | 731 | 688 | 764 | 807 | 786 | 818 | 839 | 816 | 792 | 820 | 791 | 671 | 657 | 565 | 447 | 615 | 540 | 503 | 441 | 539 | 536 | 525 | 584 | 675 | 761 | 743 | 684 | 800 | 818 | 723 | 722 | 583 | 775 | 758 | 677 | 647 | 537 | 663 | 579 | 522 | 492 | 508 | 469 | 487 | 537 | 548 | 476 | 713 | 698 | 696 | 780 | 692 | 648 | 606 | 558 | 626 | 691 | 679 | 630 | 664 | 689 | 648 | 491 | 623 | 620 | 667 | 550 | 580 | 645 | 530 | 620 | 610 | 596 | 660 | 654 | 680 | 585 | 632 | 718 | 681 | 772 | 642.0795
Magnesium (dissolved) | mg/L | [6 empty] | 6.4 | 4.21 | 4 | 6.63 | 9.46 | 7.06 | 8.96 | 11.8 | 7.29 | 9.47 | 8.76 | 8.1 | 10.1 | 8.18 | 4.18 | 6.3 | 4.8 | 6.65 | 5.4 | 3.9 | 3.27 | 4.05 | 5.06 | 4.12 | 3.85 | 4 | 4.98 | 6.86 | 6.11 | 7.92 | 7.62 | 7.69 | 8.03 | 9.83 | 9.03 | 8.62 | 9.3 | 10 | 12.7 | 10.1 | 8.66 | 8.51 | 10.3 | 8.7 | 10.6 | 9.77 | 6.94 | 5.22 | 5.4 | 5.32 | 9.41 | 7.62 | 7.26 | 8.45 | 10.9 | 8.9 | 6.31 | 6.17 | 6.69 | 7.19 | 10.4 | 11.4 | 21.7 | 25.8 | 22 | 24.7 | 24.9 | 23.9 | 27.4 | 20 | 29.5 | 36.3 | 33.7 | 20.2 | 27.1 | 21.1 | 20.8 | 16.1 | 22 | 16.3 | 16 | 18.1 | 18.9 | 16 | 17.9 | 20.2 | 20.8 | 22.5 | 11.9183
Nitrogen, total | mg/L | [6 empty] | 25 | 27 | 24 | 32 | 28 | 40 | 32 | 36 | 41 | 43 | 47 | 43 | 49 | 46 | 47 | 48 | 43 | 41 | 34 | 30 | 23 | 18 | 33 | 16 | 27 | 22 | 25 | 26 | 25 | 40 | 20 | 44 | 35 | 37 | 35 | 36 | 39 | 34 | 26 | 41 | 38 | 34 | 30 | 22 | 28 | 25 | 21 | 21 | 28 | 22 | 24 | 28 | 19 | 26 | 34 | 48 | 36 | 44 | 37 | 31 | 34 | 26 | 22 | 22 | 24 | 18 | 18 | 18 | 26 | 21 | 17 | 10 | 14 | 13 | 15 | 16 | 15 | 14 | 22 | 21 | 28 | 35 | 34 | 29 | 29 | 34 | 35 | 33 | 29.5114
Nitrate/Nitrite as N | mg/L | [6 empty] | 7.2 | 7.8 | 7.3 | 9.9 | 16.1 | 14.1 | 8.8 | 7.5 | 7.9 | 6.8 | 7.7 | 7.2 | 9.2 | 7.4 | 7 | 9.1 | 2.2 | 2.8 | 2.9 | 3.4 | 3.7 | 5.5 | 3.8 | 1.9 | 6.7 | 6.8 | 13 | 9.9 | 7.1 | 24 | <0.1 | 9.3 | 6.3 | 5.7 | 5.8 | 4.2 | 9.7 | 8 | 10.7 | 14 | 11 | 9.8 | 4.6 | 6.9 | 3.4 | 6 | 7.3 | 5.2 | 4.4 | 6.3 | 7.4 | 8.6 | 6.6 | 10.3 | 10 | 9.2 | 5.2 | 4 | 4 | 7.7 | 9.9 | 7.3 | 7.1 | 7.6 | 9 | 7.1 | 7 | 7.1 | 16 | 12.2 | 13.4 | 4.4 | 9.5 | 3.1 | 6.6 | 7.5 | 5.8 | 4 | 6.1 | 10 | 3.5 | 11 | 11 | 5.7 | 4.8 | 8.5 | 6 | 7.7 | 7.646
Oil & Grease | mg/L | [6 empty] | 6 | 8 | 5 | 3 | 3 | 5 | 5 | 2 | 3 | 1 | 3 | 6 | 7 | <1 | 1 | 5 | <1 | 5 | 9 | 4 | 13 | 3 | 3 | <1 | 5 | 6 | 6 | 6 | 6 | 5 | <1 | 1 | 2 | 4 | 2 | 3 | 4 | 4 | 7 | <1 | 3 | 3 | 1 | 5 | <1 | 7 | 2 | 13 | <1 | 1 | 3 | 7 | 6 | 2 | <1 | 1 | 9 | 3 | 6 | 1 | <1 | 3 | 2 | 4 | 3 | <1 | 23 | <1 | 1 | 1 | 4 | 4 | 4 | <1 | 2 | 1 | 2 | <1 | 1 | <1 | <1 | 2 | 3 | 1 | 3 | 3 | 1 | 2 | 4.1644
Phosphorus, Total | mg/L | [6 empty] | 6.06 | 5.24 | 6.12 | 5.96 | 5.11 | 6.35 | 6.56 | 5.92 | 5.46 | 6.75 | 5.71 | 6.05 | 6.67 | 6.96 | 6.12 | 7.6 | 7.01 | 6.45 | 11.9 | 15.9 | 12.8 | 9.9 | 9.96 | 5.87 | 4.78 | 4.78 | 6.5 | 4.54 | 4.38 | 4.43 | 4.11 | 1.96 | 7.83 | 5.45 | 5.78 | 7.21 | 6.19 | 4.56 | 2.48 | 5.3 | 2.83 | 5.6 | 10 | 6.76 | 5.98 | 4.32 | 3.4 | 4.97 | 5.81 | 4.45 | 4.78 | 5.03 | 2.94 | 2.72 | 4.16 | 6.47 | 5.24 | 3.95 | 4.95 | 6.64 | 4.1 | 3.69 | 5.35 | 3.22 | 4.81 | 4.44 | 4.51 | 4.6 | 3.84 | 3.64 | 3.5 | 3.36 | 3.55 | 3.88 | 3.47 | 4.34 | 4.01 | 3.9 | 8.2 | 4.02 | 3.92 | 3.99 | 4.11 | 5.47 | 5.27 | 5.43 | 5.57 | 6.67 | 5.5065
pH | pH units | [6 empty] | 9.6 | 8.9 | 9.6 | 9.3 | 8.8 | 8.7 | 7.9 | 8.2 | 7.9 | 7.8 | 7.7 | 7.7 | 7.7 | 7.5 | 7.7 | 7.8 | 7.7 | 7.8 | 7.8 | 8 | 8.4 | 9.5 | 8.84 | 8.1 | 6.7 | 9.7 | 9.1 | 7.5 | 9.5 | 9.1 | 8.6 | 7.3 | 7.7 | 8.7 | 8 | 7.5 | 7.5 | 7.5 | 7.5 | 7.4 | 7.7 | 7.6 | 8.2 | 7.8 | 8.4 | 9.1 | 9.4 | 9.2 | 9 | 9 | 9.3 | 8.9 | 8.8 | 9.4 | 8.5 | 7 | 7.6 | 7.5 | 7.5 | 7.4 | 7.5 | 7.5 | 7.5 | 7.6 | 7.7 | 8.7 | 8 | 7.6 | 8.3 | 7.5 | 8.3 | 9.7 | 7.4 | 7.8 | 9.3 | 8.2 | 10 | 7.7 | 8.1 | 7.8 | 7.4 | 7.9 | 8 | 7.5 | 7.5 | 7.8 | 7.9 | 7.9 | 8.1777
Sodium Adsorption Ratio | Ratio | [6 empty] | 4 | 4 | 4 | 3 | 4 | 3 | 4 | 5 | 3 | 3 | 3 | 3 | 5 | 3 | 2 | 3 | 4 | 3 | 3 | 4 | 3 | 5 | 4 | 4 | 4 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 4 | 4 | 3 | 2 | 2 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 1 | 2 | 1 | 2.6932
Sodium (dissolved) | mg/L | [6 empty] | 71.3 | 72 | 67.3 | 62.6 | 87.9 | 66.1 | 98.3 | 121 | 63.1 | 62.1 | 57.6 | 66.7 | 128 | 63.4 | 40.1 | 51 | 62 | 76.3 | 69.5 | 83.5 | 58.1 | 67 | 69.8 | 67.8 | 62.6 | 67.7 | 65.9 | 59.1 | 53.3 | 76.9 | 65.3 | 63.2 | 67.3 | 72.6 | 73.3 | 68.2 | 59.1 | 61.2 | 51.8 | 62.5 | 60.4 | 43.2 | 68.4 | 66.3 | 36.2 | 70.2 | 67.3 | 60.5 | 58.7 | 35.3 | 50.6 | 55.6 | 57.2 | 48 | 82.8 | 73.5 | 53 | 51.3 | 51.9 | 55.2 | 44.6 | 39.1 | 46.2 | 52.2 | 54.9 | 48.9 | 52.1 | 49.9 | 54.1 | 38.2 | 49.9 | 62 | 45.9 | 34.8 | 45.3 | 34.5 | 36.1 | 27.9 | 52.3 | 55.3 | 28 | 55.1 | 59.9 | 28.5 | 33.1 | 38.9 | 41 | 36.6 | 58.5614
Total Kjeldahl Nitrogen | mg/L | [6 empty] | 18 | 19 | 17 | 22 | 12 | 26 | 23 | 28 | 33 | 36 | 39 | 36 | 40 | 39 | 40 | 39 | 41 | 38 | 31 | 27 | 19 | 13 | 29 | 14 | 20 | 15 | 12 | 16 | 18 | 16 | 20 | 35 | 29 | 31 | 29 | 32 | 29 | 26 | 15 | 27 | 27 | 24 | 25 | 15 | 25 | 19 | 14 | 16 | 24 | 16 | 17 | 19 | 13 | 16 | 24 | 39 | 31 | 40 | 33 | 23 | 24 | 19 | 15 | 14 | 15 | 11 | 11 | 11 | 10 | 9 | 4 | 6 | 5 | 10 | 8 | 8 | 9 | 10 | 16 | 21 | 24 | 24 | 23 | 23 | 24 | 25 | 29 | 25 | 22.0682
Total Suspended Solids | mg/L | [6 empty] | 152 | 150 | 128 | 90 | 94 | 70 | 43 | 39 | 52 | 4 | 11 | 6 | 6 | 5 | 7 | 11 | 14 | 19 | 27 | 41 | 52 | 102 | 132 | 48 | 161 | 80 | 68 | 119 | 118 | 102 | 71 | 19 | 27 | 60 | 55 | 6 | 16 | 16 | 9 | 12 | 15 | 18 | 39 | 44 | 95 | 96 | 68 | 81 | 83 | 108 | 106 | 122 | 98 | 74 | 84 | 54 | 18 | 7 | 32 | 36 | 11 | <2 | <2 | <2 | 11 | 35 | 23 | 12 | 330 | 33 | 22 | 52 | 6 | 13 | 54 | 10 | 9 | 15 | 65 | 52 | 14 | 50 | 52 | 7 | <2 | 3 | 2 | 6 | 54.2716
*Samples taken in this month were sourced directly from the GCP surface water adjacent the irrigation pump inlet
Faecal Coliform Target |  | 1000 |  |  |  |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## All Feacal testing
Fortnightly Sampling of Treated Effluent - Bidgee Banks Golf Course (Point 1 Irrigation) |  |  | Bidgee Banks Golf Course (Golf Course Pond Inlet) |  | Bidgee Banks Golf Course (Maturation Pond Outlet) |  | Faecal Coliform Target
Date | Faecal coliforms |  | Date | Faecal coliforms | Date | Faecal coliforms
Units | cfu/100mL |  | Units | cfu/100mL | Units | cfu/100mL
2018-02-01 | 30 |  | 2018-02-01 |  | 2018-02-01 |  | 1000
2018-04-10 | 330 |  | 2018-04-10 |  | 2018-04-10
2018-10-15 | 45 |  | 2018-10-15 |  | 2018-10-15
2018-12-14 | 6160 |  | 2018-12-14 |  | 2018-12-14
2019-01-14 | 1 |  | 2019-01-14 | 2500 | 2019-01-14
2019-01-31 | 100 |  | 2019-01-31 | 96700 | 2019-01-31 |  | 1000
2019-02-13 | 50 |  | 2019-02-13 | 3670 | 2019-02-13 | 6560 | 1000
2019-02-28 | 444 |  | 2019-02-28 | 34400 | 2019-02-28 | 40000 | 1000
2019-03-14 | 10 |  | 2019-03-14 | 22500 | 2019-03-14 | 15100 | 1000
2019-03-28 | 90 |  | 2019-03-28 | 60000 | 2019-03-28 | 83300 | 1000
2019-04-11 | 734 |  | 2019-04-11 | 36000 | 2019-04-11 | 41000 | 1000
2019-04-23 | 2600 |  | 2019-04-23 | 73000 | 2019-04-23 | 68000 | 1000
2019-05-09 | 6000 |  | 2019-05-09 | 169000 | 2019-05-09 | 187000 | 1000
2019-05-23 | 5600 | ` | 2019-05-23 | 96000 | 2019-05-23 | 103000 | 1000
2019-06-06 | 6560 |  | 2019-06-06 | 193000 | 2019-06-06 | 212000 | 1000
2019-07-04 | 300 |  | 2019-07-04 | 10800 | 2019-07-04 | 13600 | 1000
2019-07-18 | 50 |  | 2019-07-18 | 37400 | 2019-07-18 | 12100 | 1000
2019-08-01 | 1 |  | 2019-08-01 | 150 | 2019-08-01 | 340 | 1000
2019-08-19 | 83 |  | 2019-08-19 | 10000 | 2019-08-19 | 10000 | 1000
2019-08-29 | 20 |  | 2019-08-29 | 55 | 2019-08-29 | 100 | 1000
2019-09-12 | 37 |  | 2019-09-12 | 4500 | 2019-09-12 | 4500 | 1000
2019-09-30 | 119 |  | 2019-09-30 | 2020 | 2019-09-30 | 2420 | 1000
2019-10-10 | 64 |  | 2019-10-10 | 8590 | 2019-10-10 | 44400 | 1000
2019-10-24 | 606 |  | 2019-10-24 | 25600 | 2019-10-24 | 90000 | 1000
2019-11-06 | 101 |  | 2019-11-06 | 178000 | 2019-11-06 | 178000 | 1000
2019-11-20 | 28 |  | 2019-11-20 | 1620 | 2019-11-20 | 8890 | 1000
2019-12-05 | 192 |  | 2019-12-05 | 3160 | 2019-12-05 | 6400 | 1000
2019-12-19 | 606 |  | 2019-12-19 | 4340 | 2019-12-19 | 4020 | 1000
2020-01-07 | 5050 |  | 2020-01-07 | 122000 | 2020-01-07 | 178000 | 1000
2020-01-24 | 550 |  | 2020-01-24 | 50200 | 2020-01-24 | 51100 | 1000
2020-02-05 | 140 |  | 2020-02-05 | 27000 | 2020-02-05 | 34000 | 1000
2020-02-18 | 10 |  | 2020-02-18 | 33300 | 2020-02-18 | 149000 | 1000
2020-03-03 | 505 |  | 2020-03-03 | 33300 | 2020-03-03 | 26300 | 1000
2020-03-16 | 2020 |  | 2020-03-16 | 28300 | 2020-03-16 | 45400 | 1000
2020-03-31 | 1410 |  | 2020-03-31 | 48500 | 2020-03-31 | 52500 | 1000
2020-04-14 | 800 |  | 2020-04-14 | 280000 | 2020-04-14 | 300000 | 1000
2020-04-22 | 210 |  | 2020-04-22 | 20000 | 2020-04-22 | 100000 | 1000
2019-05-13 | 3200 |  | 2019-05-13 | 3800 | 2019-05-13 |  | 1000
2019-05-19 | 3100 |  | 2019-05-19 | 24400 | 2019-05-19 | 23200 | 1000
2020-05-22 | 3500 |  | 2020-05-22 | 222000 | 2020-05-22 | 3330000 | 1000
2020-05-29 | 3330 |  | 2020-05-29 | 233000 | 2020-05-29 | 189000 | 1000
2020-06-02 | 108 |  | 2020-06-02 | 14000 | 2020-06-02 | 12700 | 1000
2020-06-05 | 800 |  | 2020-06-05 | 167000 | 2020-06-05 | 411000 | 1000
2020-06-09 | 1100 |  | 2020-06-09 | 22200 | 2020-06-09 | 33300 | 1000
2020-06-12 | 1110 |  | 2020-06-12 | 14400 | 2020-06-12 | 322000 | 1000
2020-06-16 | 372 |  | 2020-06-16 | 10000 | 2020-06-16 | 5300 | 1000
2020-06-19 | 3670 |  | 2020-06-19 | 100000 | 2020-06-19 | 100000 | 1000
2020-06-24 | 1670 |  | 2020-06-24 | 178000 | 2020-06-24 | 300000 | 1000
2020-06-26 | 12400 |  | 2020-06-26 | 389000 | 2020-06-26 | 511000 | 1000
2020-06-30 | 111 |  | 2020-06-30 | 55600 | 2020-06-30 | 44400 | 1000
2020-07-03 | 4670 |  | 2020-07-03 | 144000 | 2020-07-03 | 189000 | 1000
2020-07-14 | 26700 |  | 2020-06-30 | 233000 | 2020-06-30 | 66700 | 1000
2020-07-17 | 5330 |  | 2020-07-17 | 75600 | 2020-07-17 | 82200 | 1000
2020-07-21 | 1890 |  | 2020-07-21 | 12200 | 2020-07-21 | 32200 | 1000
2020-07-24 | 667 |  | 2020-07-24 | 1110 | 2020-07-24 | 27600 | 1000
2020-07-29 | 5110 |  | 2020-06-30 | 27800 | 2020-06-30 | 62200 | 1000
2020-07-31 | 1210 |  | 2020-07-31 | 11100 | 2020-07-31 | 47500 | 1000
2020-08-04 | 667 |  | 2020-08-04 | 4440 | 2020-08-04 | 1110 | 1000
2020-08-06 | 1560 |  | 2020-08-06 | 16200 | 2020-08-06 | 10100 | 1000
2020-08-11 | 222 |  | 2020-08-11 | 4040 | 2020-08-11 | 1010 | 1000
2020-08-25 | 73 |  | 2020-08-25 | 5050 | 2020-08-25 | 13100 | 1000
2020-09-08 | 1 |  | 2020-09-08 | 7070 | 2020-09-08 | 7070 | 1000
2020-09-23 | 1 |  | 2020-09-23 | 2520 | 2020-09-23 | 2420 | 1000
2020-10-06 | 1 |  | 2020-10-06 | 6670 | 2020-10-06 | 1670 | 1000
2020-10-20 | 70 |  | 2020-10-20 | 88900 | 2020-10-20 | 116000 | 1000
2020-11-03 | <1 |  | 2020-11-03 | 3030 | 2020-11-03 | 3030 | 1000
2020-11-17 | 1440 |  | 2020-11-17 | 147000 | 2020-11-17 | 178000 | 1000
2020-12-01 | <1 |  | 2020-12-01 | 77800 | 2020-12-01 | 44400 | 1000
2020-12-15 | 667 |  | 2020-12-15 | 5560 | 2020-12-15 | 7780 | 1000
2021-01-04 | 444 |  | 2021-01-04 | 10000 | 2021-01-04 | 15600 | 1000
2021-01-19 | 394 |  | 2021-01-19 | 11100 | 2021-01-19 | 32200 | 1000
2021-02-03 | 1440 |  | 2021-02-03 | 93300 | 2021-02-03 | 200000 | 1000
2021-02-16 | 556 |  | 2021-02-16 | 88900 | 2021-02-16 | 200000 | 1000
2021-03-02 | 55 |  | 2021-03-02 | 22200 | 2021-03-02 | 122000 | 1000
2021-03-16 | 1210 |  | 2021-03-16 | 267000 | 2021-03-16 | 344000 | 1000
2021-03-30 | 2420 |  | 2021-03-30 | 88900 | 2021-03-30 | 156000 | 1000
2021-04-13 | 1220 |  | 2021-04-13 | 45600 | 2021-04-13 | 164000 | 1000
2021-05-11 | 333 |  | 2021-05-11 | 42200 | 2021-05-11 | 31100 | 1000
2021-05-25 | 3330 |  | 2021-05-25 | 100000 | 2021-05-25 | 187000 | 1000
2021-06-08 | 1220 |  | 2021-06-08 | 54400 | 2021-06-08 | 244000 | 1000
2021-06-22 | 128 |  | 2021-06-22 | 1820 | 2021-06-22 | 13300 | 1000
2021-07-06 | 9 |  | 2021-07-06 | 1110 | 2021-07-06 | 8890 | 1000
2021-07-20 | 100 |  | 2021-07-20 | <1 | 2021-07-20 | 100 | 1000
2021-08-03 | 4 |  | 2021-08-03 | 2000 | 2021-08-03 | 4800 | 1000
2021-08-17 | 30 |  | 2021-08-17 | 667 | 2021-08-17 | 778 | 1000
2021-08-31 | 22 |  | 2021-08-31 | 6 | 2021-08-31 | 20 | 1000
2021-09-14 | 102 |  | 2021-09-14 | 140 | 2021-09-14 | 238 | 1000
2021-09-30 | <1 |  | 2021-09-30 | 5960 | 2021-09-30 | 8000 | 1000
2021-10-12 | 4 |  | 2021-10-12 | 100 | 2021-10-12 | 116 | 1000
2021-10-26 | <1 |  | 2021-10-26 | 1020 | 2021-10-26 | 1820 | 1000
2021-11-09 | 130 |  | 2021-11-09 | 23600 | 2021-11-09 | 21700 | 1000
2021-11-23 | 50 |  | 2021-11-23 | 909 | 2021-11-23 | 5560 | 1000
2021-12-07 | 30 |  | 2021-12-07 | 14400 | 2021-12-07 | 13300 | 1000
2021-12-21 | 400 |  | 2021-12-21 | 280 | 2021-12-21 | 640 | 1000
2022-01-11 | 1940 |  | 2022-01-11 | 188 | 2022-01-11 | 9500 | 1000
2022-01-25 | 360 |  | 2022-01-25 | 526 | 2022-01-25 | 3100 | 1000
2022-02-08 | 4100 |  | 2022-02-08 | 110 | 2022-02-08 | 12600 | 1000
2022-02-22 | 400 |  | 2022-02-22 | 940 | 2022-02-22 | 20 | 1000
2022-03-08 | 740 |  | 2022-03-08 | 39000 | 2022-03-08 | 54000 | 1000
2022-03-22 | 5000 |  | 2022-03-22 | 24000 | 2022-03-22 | 101000 | 1000
2022-04-05 | 330 |  | 2022-04-05 | 6100 | 2022-04-05 | 15500 | 1000
2022-04-19 | 24 |  | 2022-04-19 | 166 | 2022-04-19 | 4900 | 1000
2022-05-03 | 1720 |  | 2022-05-03 | 116000 | 2022-05-03 | 9600 | 1000
2022-05-17 | 980 |  | 2022-05-17 | 2300 | 2022-05-17 | 9200 | 1000
2022-05-31 | 2280 |  | 2022-05-31 | 6000 | 2022-05-31 | 21900 | 1000
2022-06-14 | 1 |  | 2022-06-14 | 1 | 2022-06-04 | 2 | 1000
2022-06-28 | 348 |  | 2022-06-28 | 320 | 2022-06-28 | 4200 | 1000
2022-07-12 | 184 |  | 2022-07-12 | 164 | 2022-07-12 | 98 | 1000
2022-07-26 | 3560 |  | 2022-07-26 | 4890 | 2022-07-26 | 19900 | 1000
Average | 1542.8952 |  | Average | 49023.1923 | Average | 100810.8039
Note on C111: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: <1
Note on F111: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: <1