## Pt 1 - Muttama Creek
Location of monitoring.discharge points and areas
Licence point 1 - Spillway from 80mg/L dam to Muttama Creek, Muttama Creek
Address: Gundagai Road, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
|  |  |  | BOD | Faecal Coliforms | Nitrogen (Total) | Oil and Grease | pH | Phosphorus (Total) | Total suspended solids
|  |  | Units of measure | mg/L | cfu/100mL | mg/L | mg/L | pH | mg/L | mg/L
Sample date | Analysis Date | Date results published
2019-06-26 |  |  |  | <2 | 20 | 4 | 4 | 8.1 | 0.27 | <2
2019-09-17 | 2020-08-25 | 2020-08-30 |  | 20 | 995 | 549 | 5 | 0 | <2 | <2
2019-09-18 | 2020-09-22 | 2020-09-28 |  | 4 | 982 | 571 | <2 | 0 | 2 | 2
2019-09-19 | 2020-10-30 | 2020-11-04 |  | 4 | 897 | 556 | 19 | 0 | 3 | 3
2019-09-20 | 2020-12-01 | 2020-11-30 |  | 8.1 | 740 | 427 | 21 | 0 | <2 | <2
2019-09-21 | 2020-12-24 | 2021-01-06 |  | 0.27 | 792 | 425 | 33 | 0 | 5 | 5
2019-09-22 | 2021-01-15 | 2021-01-20 |  | <2 | 772 | 409 | 28 | 0 | 4 | 4
2019-09-23 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4
2019-09-24 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3
2019-09-25 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2
2019-09-26 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3
2019-09-27 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3
2019-09-28 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2
2019-09-29 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6
2019-09-30 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5
2019-10-01 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3
2019-10-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3
2019-10-03 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2
2019-10-04 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13
2019-10-05 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4
2019-10-06 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8
2019-10-07 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7
2019-10-08 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6
2019-10-09 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151
2019-10-10 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8
2019-09-16 | 2019-09-19 | 2019-10-11 |  | 3 | <1 | <2 | 2 | 8.4 | <0.01 | 6

## Pt 3 - Mitchell Park
Location of monitoring.discharge points and areas
Licence point 3 - Mitchell Park
Address: Centenary Avenue, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 38.8 | 0.1 | 9 | 6 | 1 | 0.6 | 0.2 | 2640 | 5.9 | 7.3 | 553
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 4 - Albert Park Reserve
Location of monitoring.discharge points and areas
Licence point 4 - Albert Park Reserve
Location: Bourke Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 5.5 | 0.14 | 8 | 6 | 2 | 0.8 | 0.2 | 2710 | 6.1 | 7.2 | 457
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 5 - Jubilee Park
Location of monitoring.discharge points and areas
Licence point 5 - Jubilee Park
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 16.4 | 0.19 | 10 | 7 | 2 | 0.8 | 0.5 | 2740 | 5.6 | 6.9 | 456
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 6 - Clarke Oval Reserve
Location of monitoring.discharge points and areas
Licence point 6 - Clark Oval Reserve
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 29.4 | 0.2 | 7 | 6 | 2 | 1 | 0.3 | 2740 | 6.5 | 6.9 | 556
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 7 - Fisher Park
Location of monitoring.discharge points and areas
Licence point 7 - Fisher Park
Location: Murray Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 72.8 | 0.26 | 10 | 7 | 2 | 1.3 | 0.2 | <20 | 6 | 7.5 | 655
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 8 - Bradman Oval
Location of monitoring.discharge points and areas
Licence point 8 - Bradman Oval
Location: Adams Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 21.3 | 0.13 | 5 | 4 | 1 | 0.7 | 0.1 | 1790 | 4.9 | 7.2 | 398
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 9 - Cameron Square Park
Location of monitoring.discharge points and areas
Licence point 9 - Cameron Square Park
Location: Cameron Square, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
08-0420 |  |  |  | 332 | 0.1 | 6 | 2 | 2 | 0.1 | 0.5 | 2110 | 3.5 | 6.4 | 332
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 10 - Nicholson Park
Location of monitoring.discharge points and areas
Licence point 10 - Nicholson Park
Location: Adams Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 15 | 0.15 | 13 | 7 | 2 | 1.2 | 0.4 | 3730 | 7.4 | 7.3 | 569
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 11 - Country Club Oval
Location of monitoring.discharge points and areas
Licence point 11 - Country Club Oval
Location: Hurley Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 27.4 | 0.12 | 4 | 3 | <0.1 | 0.5 | 0.3 | 860 | 2.9 | 7.4 | 257
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 12 - Pumping Station
Location of monitoring discharge points and areas
Licence point 12 - Spillway from 80mg/L dam to Muttama Creek, Muttama Creek
Address: Gundagai Road, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
|  |  |  | BOD | Faecal Coliforms | Nitrogen (Total) | Oil and Grease | pH | Phosphorus (Total) | Total suspended solids
|  |  | Units of measure | mg/L | cfu/100mL | mg/L | mg/L | pH | mg/L | mg/L
Sample date | Analysis Date | Date results published
2019-06-20 |  |  |  | 3 | 80 | 2 | 1 | 7.9 | 0.35 | 3
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
2019-09-16 | 2019-09-19 | 2019-10-11 |  | 3 | 9 | <2 | 2 | 8.6 | <0.01 | 8
2019-12-02 |  |  |  | 3 | 20 | 2 | 5 | 8.8 | <0.01 | 7
2020-04-06 |  |  |  | 11 | 1000 | 7 | 5 | 7.9 | 0.83 | 3

## Pt 13 - EA Southee School
Location of monitoring.discharge points and areas
Licence point 13 - E A Southee School
Location: Cowrcumbla Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 14.4 | 0.14 | 6 | 5 | 2 | 0.7 | 0.4 | 2440 | 5.2 | 6.8 | 419
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 14 - Cootamundra High School
Location of monitoring.discharge points and areas
Licence point 14 - Cootamundra High School
Location: Poole Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 4.2 | 0.11 | 6 | 3 | 1 | 0.4 | 0.2 | 1260 | 3 | 7 | 234
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 15 - Cootamundra Public Scho
Location of monitoring.discharge points and areas
Licence point 15 - Cootamundra Public School
Location: Cooper Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Yearly
|  |  |  | Available Phosphorus | Conductivity | Exchangeable Calcium | Exchangeable Magnesium | Exchangeable Potassium | Exchangeable Sodium | Nitrate | Nitrogen (Total) | Organic Matter | pH | Phosphorus (Total)
|  |  | Units of measure | mg/kg | dS/m | cmol/kg | cmol/kg | cmol/kg | cmol/kg | mg/kg | mg/kg | w/w% | pH | mg/kg
Sample date | Analysis Date | Date results published
2020-04-08 |  |  |  | 19.4 | 0.1 | 7 | 4 | 1 | 0.7 | 0.2 | 1720 | 4.2 | 7.1 | 381
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8 | 8 | 8 | 8

## Pt 16 – Mitchell Park
Location of monitoring.discharge points and areas
Licence point 16 - Mitchell Park - Ground Water Level Monitoring
Address: Centenary Avenue, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 2.4
2019-10-14 |  | 2.3
2020-02-04 |  | 2.6
2020-04-22 |  | 2.7
2020-08-19 |  | 8.15
2020-09-16 |  | 8.49
2020-10-21 |  | 9.31
2020-11-20 |  | 10.3
2020-12-15 |  | 10.6
2020-01-07 |  | 10.2
2021-02-02 |  | 10
2021-03-03 |  | 10.1
2021-04-08 |  | 11
2021-05-04 | ` | 10.2
2021-06-04 |  | 8.08
2021-07-07 |  | 8.09
2021-08-06 |  | 8.57
2021-09-01 |  | 8.61
2021-10-07 |  | 10.6
2021-11-02 |  | 10.9
2021-12-01 |  | 10.8
2022-01-05 |  | 10.1
2021-02-01 |  | 10.7
2022-03-01 |  | 10.2
2022-04-12 |  | 9.94
2022-05-05 |  | 9.35
2022-06-02 |  | 7.62
2022-07-05 |  | 8.69

## Pt 17 - Albert Park
Location of monitoring.discharge points and areas
Licence point 17 - Albert Park - Ground Water Level Monitoring
Location: Bourke Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 4.9
2019-10-14 |  | 4.6
2020-02-04 |  | 5.4
2020-04-22 |  | 4.9
2020-08-19 |  | 8.15
2020-09-16 |  | 8.49
2020-10-21 |  | 9.31
2020-11-20 |  | 10.3
2020-12-15 |  | 10.6
2020-01-07 |  | 10.2
2021-02-02 |  | 10
2021-03-03 |  | 10.1
2021-04-08 |  | 11
2021-05-04 | ` | 10.2
2021-06-04 |  | 8.08
2021-07-07 |  | 8.09
2021-08-06 |  | 8.57
2021-09-01 |  | 8.61
2021-10-07 |  | 10.6
2021-11-02 |  | 10.9
2021-12-01 |  | 10.8
2022-01-05 |  | 10.1
2021-02-01 |  | 10.7
2022-03-01 |  | 10.2
2022-04-12 |  | 9.94
2022-05-05 |  | 9.35
2022-06-02 |  | 7.62
2022-07-05 |  | 8.69

## Pt 18 Jubilee Park
Location of monitoring.discharge points and areas
Licence point 18 - Jubilee Park - Ground Water Level Monitoring
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | Dry
2019-10-14 |  | Dry
2020-02-04 |  | Dry
2020-04-22 |  | Dry

## Pt 19 - Clarke Oval
Location of monitoring.discharge points and areas
Licence point 19 - Clark Oval - Ground Water Level Monitoring
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 3
2019-10-14 |  | 3.3
2020-02-04 |  | 3.6
2020-04-22 |  | 3.3

## Pt 20 - Bradman Oval
Location of monitoring.discharge points and areas
Licence point 20 - Bradman Oval - Ground Water Level Monitoring
Location: Adams Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 3
2019-10-14 |  | 3.3
2020-02-04 |  | 3.6
2020-04-22 |  | 3.3

## Pt 21 - Nicholson Park
Location of monitoring.discharge points and areas
Licence point 21 - Nicholson Park - Ground Water Level Monitoring
Location: Adams Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 3.5
2019-10-14 |  | 3.4
2020-02-04 |  | 3.8
2020-04-22 |  | 3.5

## Pt 22 - Country Club
Location of monitoring.discharge points and areas
Licence point 22 - Country Club Oval - Ground Water Level Monitoring
Location: Hurley Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | Full
2019-10-14 |  | Full
2020-02-04 |  | 0.9
2020-04-22 |  | 0.6

## Pt 23 - E A Southee Schoo
Location of monitoring.discharge points and areas
Licence point 23 - E A Southee School - Ground Water Level Monitoring
Location: Cowrcumbla Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 1.95
2019-10-14 |  | 2
2020-02-04 |  | Not used
2020-04-22 |  | 2.2

## Pt 24 - Cootamundra High
Location of monitoring.discharge points and areas
Licence point 24 - Cootamundra High School - Ground Water Level Monitoring
Location: Poole Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 2.1
2019-10-14 |  | 2.3
2020-02-04 |  | 3.2
2020-04-22 |  | 2.6

## Pt 25 -Cootamundra Public
Location of monitoring.discharge points and areas
Licence point 25 - Cootamundra Public School - Ground Water Level Monitoring
Location: Cooper Street, Cootamundra
EPA licence number: 1603
Reporting year: 2019-2020
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2019-07-08 |  | 2.1
2019-10-14 |  | 2.3
2020-02-04 |  | 3.2
2020-04-22