## Pt 1 - Muttama Creek
Location of monitoring.discharge points and areas
Licence point 1 - Spillway from 80mg/L dam to Muttama Creek, Muttama Creek
Address: Gundagai Road, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Quarterly
|  |  |  | BOD | Faecal Coliforms | Phosphorus (Total) | Oil and Grease | pH | Nitrogen (Total) | Total suspended solids
|  |  | Units of measure | mg/L | cfu/100mL | mg/L | mg/L | pH | mg/L | mg/L
Sample date | Analysis Date | Date results published
2021-09-21 | 2021-09-30 | 2021-10-29 |  | <2 | 4 | 0.73 | 3 | 8.3 | <2 | <2
2022-02-15 | 2022-02-22 | 2022-03-17 |  | 2 | 46 | <0.01 | 1 | 8.2 | 2 | 5
2022-05-02 | 2022-05-22 | 2022-06-27 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2
2022-06-22 | 2022-06-29 | 2022-08-25 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8
2022-05-02 | 2022-05-22 | 2022-06-27 |  | 4 | 2 | 0.35 | 1 | 8.8 | 2 | <2
2022-06-22 | 2022-06-29 | 2022-08-25 |  | 6 | <1 | 0.58 | 1 | 7 | 2 | <2

## Pt 3 - Mitchell Park
Location of monitoring.discharge points and areas
Licence point 3 - Mitchell Park
Address: Centenary Avenue, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2021-07-15 | 2021-07-21 | 2021-08-10 |  | 1 | 6 | 74 | 270 | <0.1 | 1.16 | 7 | 5
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8

## Pt 4 - Albert Park Reserve
Location of monitoring.discharge points and areas
Licence point 4 - Albert Park Reserve
Location: Bourke Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2021-07-15 | 2021-07-21 | 2021-08-10 |  | 1 | 6 | 74 | 270 | <0.1 | 1.16 | 7 | 5
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-07-15 | 2021-07-21 | 2021-08-10 |  | <0.1 | 6 | <1 | 232 | 1.8 | 0.56 | 7.1 | 3

## Pt 5 - Jubilee Park
Location of monitoring.discharge points and areas
Licence point 5 - Jubilee Park
Location: Wallendoon Street, Cootamundra
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published

## Pt 6 - Clarke Oval Reserve
Location of monitoring.discharge points and areas
Licence point 6 - Clark Oval Reserve
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-07-15 | 2021-07-21 | 2021-08-10 |  | <0.1 | 196 | 12 | 3430 | <0.1 | 6.1 | 7.6 | 74

## Pt 7 - Fisher Park
Location of monitoring.discharge points and areas
Licence point 7 - Fisher Park
Location: Murray Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-07-15 | 2021-07-21 | 2021-08-10 |  | <0.1 | 163 | 6 | 516 | 0.8 | 1.3 | 7.5 | 2

## Pt 8 - Bradman Oval
Location of monitoring.discharge points and areas
Licence point 8 - Bradman Oval
Location: Adams Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-07-15 | 2021-07-21 | 2021-08-10 |  | <0.1 | 9 | 2 | 414 | 0.2 | 0.24 | 7.5 | 4

## Pt 9 - Cameron Square Park
Location of monitoring.discharge points and areas
Licence point 9 - Cameron Square Park
Location: Cameron Square, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8

## Pt 10 - Nicholson Park
Location of monitoring.discharge points and areas
Licence point 10 - Nicholson Park
Location: Adams Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8

## Pt 11 - Country Club Oval
Location of monitoring.discharge points and areas
Licence point 11 - Country Club Oval
Location: Hurley Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-07-15 | 2021-07-21 | 2021-08-10 |  | <0.1 | <2 | <1 | 7980 | <0.1 | <0.01 | 7 | <2

## Pt 12 - Pumping Station
Location of monitoring discharge points and areas
Licence point 12 - Spillway from 80mg/L dam to Muttama Creek, Muttama Creek
Address: Gundagai Road, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Quarterly
|  |  |  | BOD | Faecal Coliforms | Phosphorus (Total) | Oil and Grease | pH | Nitrogen (Total) | Total suspended solids
|  |  | Units of measure | mg/L | cfu/100mL | mg/L | mg/L | pH | mg/L | mg/L
Sample date | Analysis Date | Date results published
2021-09-21 | 2021-09-30 | 2021-10-29 |  | 8 | 20 | 0.14 | 3 | 8.3 | 2 | <2
2022-02-15 | 2022-02-22 | 2022-03-17 |  | 4 | 50 | <0.01 | <1 | 8.3 | 8 | 7
2022-05-02 | 2022-05-22 | 2022-06-27 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2
2022-06-22 | 2022-06-29 | 2022-08-25 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8
2022-05-02 | 2022-05-22 | 2022-06-27 |  | 5 | 2 | 0.37 | 1 | 8.8 | <2 | <2
2022-06-22 | 2022-06-29 | 2022-08-25 |  | 8 | 26 | 0.62 | 3 | 7.7 | <2 | <2

## Pt 13 - EA Southee School
Location of monitoring.discharge points and areas
Licence point 13 - E A Southee School
Location: Cowrcumbla Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-11-08 | 2021-11-21 | 2021-11-30 |  | 14 | 7 | <1 | 2240 | <0.1 | 2.63 | 7.3 | 21

## Pt 14 - Cootamundra High School
Location of monitoring.discharge points and areas
Licence point 14 - Cootamundra High School
Location: Poole Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-07-15 | 2021-07-21 | 2021-08-10 |  | 65 | 130 | 24000 | 2880 | <0.1 | 16.6 | 7.2 | 146

## Pt 15 - Cootamundra Public Scho
Location of monitoring.discharge points and areas
Licence point 15 - Cootamundra Public School
Location: Cooper Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2021-2022
Frequency: Annually
|  |  |  | Ammonia | BOD | Faecal Coliforms | Conductivity | Nitrate | Phosphorus (Total) | pH | Kjeldahl Nitrogen (Total)
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | dS/m | mg/L | mg/L | pH | mg/L
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30 |  | 8.15 | 995 | 549 | 5 | 0 | <2 | <2 | <2
2020-09-16 | 2020-09-22 | 2020-09-28 |  | 8.49 | 982 | 571 | <2 | 0 | 2 | 2 | 2
2020-10-21 | 2020-10-30 | 2020-11-04 |  | 9.31 | 897 | 556 | 19 | 0 | 3 | 3 | 3
2020-11-20 | 2020-12-01 | 2020-11-30 |  | 10.3 | 740 | 427 | 21 | 0 | <2 | <2 | <2
2020-12-15 | 2020-12-24 | 2021-01-06 |  | 10.6 | 792 | 425 | 33 | 0 | 5 | 5 | 5
2020-01-07 | 2021-01-15 | 2021-01-20 |  | 10.2 | 772 | 409 | 28 | 0 | 4 | 4 | 4
2021-02-02 | 2021-02-10 | 2021-02-15 |  | 10 | 832 | 456 | 22 | 0 | 4 | 4 | 4
2021-03-03 | 2021-09-16 | 2021-09-17 |  | 10.1 | 676 | 393 | 10 | 0 | 3 | 3 | 3
2021-04-08 | 2021-04-19 | 2021-04-28 |  | 11 | 642 | 359 | 8 | 0 | 2 | 2 | 2
2021-05-04 | 2021-05-13 | 2021-05-20 | ` | 10.2 | 678 | 446 | 21 | 0 | 3 | 3 | 3
2021-06-04 | 2021-06-16 | 2021-06-23 |  | 8.08 | 722 | 448 | 4 | 0 | 3 | 3 | 3
2021-07-07 | 2021-07-14 | 2021-07-21 |  | 8.09 | 779 | 444 | 2 | 0 | 2 | 2 | 2
2021-08-06 | 2021-08-06 | 2021-08-17 |  | 8.57 | 776 | 451 | 15 | <1 | 6 | 6 | 6
2021-09-01 | 2021-09-10 | 2021-09-15 |  | 8.61 | 707 | 423 | 7 | <1 | 5 | 5 | 5
2021-10-07 | 2021-10-15 | 2021-10-21 |  | 10.6 | 577 | 365 | 9 | <1 | 3 | 3 | 3
2021-11-02 | 2021-11-11 | 2021-11-20 |  | 10.9 | 536 | 292 | 36 | <1 | 3 | 3 | 3
2021-12-01 | 2021-12-10 | 2021-12-15 |  | 10.8 | 492 | 289 | 14 | <1 | <2 | <2 | <2
2022-01-05 | 2022-01-14 | 2022-01-20 |  | 10.1 | 600 | 324 | 43 | <1 | 13 | 13 | 13
2021-02-01 | 2022-02-10 | 2022-02-10 |  | 10.7 | 460 | 298 | 47 | <1 | 4 | 4 | 4
2022-03-01 | 2022-03-10 | 2022-03-20 |  | 10.2 | 750 | 490 | 62 | <1 | 8 | 8 | 8
2022-04-12 | 2022-04-12 | 2022-04-20 |  | 9.94 | 961 | 621 | 123 | 1 | 7 | 7 | 7
2022-05-05 | 2022-05-16 | 2022-05-20 |  | 9.35 | 917 | 491 | 63 | <1 | 6 | 6 | 6
2022-06-02 | 2022-06-20 | 2022-06-25 |  | 7.62 | 862 | 498 | 1360 | <1 | 151 | 151 | 151
2022-07-05 | 2022-07-14 | 2022-07-20 |  | 8.69 | 821 | 443 | 28 | <1 | 8 | 8 | 8
2021-07-15 | 2021-07-21 | 2021-08-10 |  | 28 | 12 | 889 | 4590 | <0.1 | 4.73 | 8.3 | 38

## Pt 16 - Mitchell Park
Location of monitoring.discharge points and areas
Licence point 16 - Mitchell Park - Ground Water Level Monitoring
Address: Centenary Avenue, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 1.6
2021-11-01 |  | 0.9
2022-03-01 |  | 1
2020-08-19 |  | 8.15
2020-09-16 |  | 8.49
2020-10-21 |  | 9.31
2020-11-20 |  | 10.3
2020-12-15 |  | 10.6
2020-01-07 |  | 10.2
2021-02-02 |  | 10
2021-03-03 |  | 10.1
2021-04-08 |  | 11
2021-05-04 | ` | 10.2
2021-06-04 |  | 8.08
2021-07-07 |  | 8.09
2021-08-06 |  | 8.57
2021-09-01 |  | 8.61
2021-10-07 |  | 10.6
2021-11-02 |  | 10.9
2021-12-01 |  | 10.8
2022-01-05 |  | 10.1
2021-02-01 |  | 10.7
2022-03-01 |  | 10.2
2022-04-12 |  | 9.94
2022-05-05 |  | 9.35
2022-06-02 |  | 7.62
2022-07-05 |  | 8.69

## Pt 17 - Albert Park
Location of monitoring.discharge points and areas
Licence point 17 - Albert Park - Ground Water Level Monitoring
Location: Bourke Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 3.2
2021-11-01 |  | 3.5
2022-03-01 |  | 2.8
2020-08-19 |  | 8.15
2020-09-16 |  | 8.49
2020-10-21 |  | 9.31
2020-11-20 |  | 10.3
2020-12-15 |  | 10.6
2020-01-07 |  | 10.2
2021-02-02 |  | 10
2021-03-03 |  | 10.1
2021-04-08 |  | 11
2021-05-04 | ` | 10.2
2021-06-04 |  | 8.08
2021-07-07 |  | 8.09
2021-08-06 |  | 8.57
2021-09-01 |  | 8.61
2021-10-07 |  | 10.6
2021-11-02 |  | 10.9
2021-12-01 |  | 10.8
2022-01-05 |  | 10.1
2021-02-01 |  | 10.7
2022-03-01 |  | 10.2
2022-04-12 |  | 9.94
2022-05-05 |  | 9.35
2022-06-02 |  | 7.62
2022-07-05 |  | 8.69

## Pt 18 Jubilee Park
Location of monitoring.discharge points and areas
Licence point 18 - Jubilee Park - Ground Water Level Monitoring
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | Dry
2021-11-01 |  | Dry
2022-03-01 |  | Dry

## Pt 19 - Clarke Oval
Location of monitoring.discharge points and areas
Licence point 19 - Clark Oval - Ground Water Level Monitoring
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603
Reporting year: 2020-2021
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 2.6
2021-11-01 |  | 2.5
2022-03-01 |  | 2.8

## Pt 20 - Bradman Oval
Location of monitoring.discharge points and areas
Licence point 20 - Bradman Oval - Ground Water Level Monitoring
Location: Adams Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 0.3
2021-11-01 |  | 1
2022-03-01 |  | 1.8

## Pt 21 - Nicholson Park
Location of monitoring.discharge points and areas
Licence point 21 - Nicholson Park - Ground Water Level Monitoring
Location: Adams Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 1.6
2021-11-01 |  | 1
2022-03-01 |  | 1.9

## Pt 22 - Country Club
Location of monitoring.discharge points and areas
Licence point 22 - Country Club Oval - Ground Water Level Monitoring
Location: Hurley Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | Full
2021-11-01 |  | Full
2022-03-01 |  | Full

## Pt 23 - E A Southee School
Location of monitoring.discharge points and areas
Licence point 23 - E A Southee School - Ground Water Level Monitoring
Location: Cowrcumbla Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 1.5
2021-11-01 |  | 0.5
2022-03-01 |  | 1.6

## Pt 24 - Cootamundra High
Location of monitoring.discharge points and areas
Licence point 24 - Cootamundra High School - Ground Water Level Monitoring
Location: Poole Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 1.1
2021-11-01 |  | 0.6
2022-03-01 |  | 0.9

## Pt 25 -Cootamundra Public
Location of monitoring.discharge points and areas
Licence point 25 - Cootamundra Public School - Ground Water Level Monitoring
Location: Cooper Street, Cootamundra
EPA licence number: 1603
Reporting year: 2021-2022
Frequency: Quarterly
Waterable Depth
| Units of measure | m
Sample date
2021-07-13 |  | 1.9
2021-11-01 |  | 1.8
2022-03-01 |  | 2.2