## Pt 1 - Muttama Creek
Location of monitoring.discharge points and areas
Licence point 1 - Spillway from 80mg/L dam to Muttama Creek, Muttama Creek
Address: Gundagai Road, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Quarterly
|  |  |  | BOD | Faecal Coliforms | Nitrogen (Total) | Oil and Grease | pH | Phosphorus (Total) | Total suspended solids
|  |  | Units of measure | mg/L | cfu/100mL | mg/L | mg/L | pH | mg/L | mg/L
Sample date | Analysis Date | Date results published
2024-09-10 | 2024-09-24 | 2024-10-09 |  | <2 | <1 | 3 | 3 | 8.2 | 0.06 | 6
2024-12-10 | 2024-12-24 | 2025-01-14 |  | 3 | <1 | 4 | 2 | 8.7 | 0.36 | 5

## Pt 3 - Mitchell Park
Location of monitoring.discharge points and areas
Licence point 3 - Mitchell Park
Address: Centenary Avenue, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 1.6 | 2 | 8 | 4 | 0.63 | 6.9

## Pt 4 - Albert Park Reserve
Location of monitoring.discharge points and areas
Licence point 4 - Albert Park Reserve
Location: Bourke Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2021-07-15 | 2021-07-21 | 2021-08-10
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
| 2025-04-02 | 2025-04-25 | 2025-04-30 | <0.1 | <2 | 20 | <2 | 0.07 | 7

## Pt 5 - Jubilee Park
Location of monitoring.discharge points and areas
Licence point 5 - Jubilee Park
Location: Wallendoon Street, Cootamundra
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published

## Pt 6 - Clarke Oval Reserve
Location of monitoring.discharge points and areas
Licence point 6 - Clarke Oval Reserve
Location: Wallendoon Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 1900-01-09 | 23 | 80 | 8 | 2.16 | 7.4

## Pt 7 - Fisher Park
Location of monitoring.discharge points and areas
Licence point 7 - Fisher Park
Location: Murray Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 7.1 | 21 | 18 | 6 | 1.73 | 7.2

## Pt 8 - Bradman Oval
Location of monitoring.discharge points and areas
Licence point 8 - Bradman Oval
Location: Adams Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 0.7 | <2 | 11 | <0.1 | 0.18 | 7.2

## Pt 9 - Cameron Square Park
Location of monitoring.discharge points and areas
Licence point 9 - Cameron Square Park
Location: Cameron Square, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2025-04-02 | 2025-04-25 | 2025-04-30 |  | <0.1 | 8 | 11 | 6 | 0.24 | 7.2

## Pt 10 - Nicholson Park
Location of monitoring.discharge points and areas
Licence point 10 - Nicholson Park
Location: Adams Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20

## Pt 11 - Country Club Oval
Location of monitoring.discharge points and areas
Licence point 11 - Country Club Oval
Location: Hurley Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 0.2 | <2 | 2 | <2 | 0.07 | 6.9

## Pt 12 - Pumping Station
Location of monitoring discharge points and areas
Licence point 12 - Spillway from 80mg/L dam to Muttama Creek, Muttama Creek
Address: Gundagai Road, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Quarterly
|  |  |  | BOD | Faecal Coliforms | Nitrogen (Total) | Oil and Grease | pH | Phosphorus (Total) | Total suspended solids
|  |  | Units of measure | mg/L | cfu/100mL | mg/L | mg/L | pH | mg/L | mg/L
Sample date | Analysis Date | Date results published
2024-09-10 | 2024-09-24 | 2024-10-09 |  | <2 | <1 | 3 | 2 | 8.2 | 0.06 | 6
2024-12-10 | 2024-12-24 | 2025-01-14 |  | 3 | <1 | 2 | 4 | 8.8 | 0.39 | <2

## Pt 13 - EA Southee School
Location of monitoring.discharge points and areas
Licence point 13 - E A Southee School
Location: Cowrcumbla Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 1.4 | 4 | 8 | 4 | 0.52 | 6.9

## Pt 14 - Cootamundra High School
Location of monitoring.discharge points and areas
Licence point 14 - Cootamundra High School
Location: Poole Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 2.3 | 3 | 61 | <2 | 0.6 | 6.8

## Pt 15 - Cootamundra Public Scho
Location of monitoring.discharge points and areas
Licence point 15 - Cootamundra Public School
Location: Cooper Street, Cootamundra
EPA licence number: 1603 |  |  | Sample ID:
Reporting year: 2024-2025
Frequency: Annually
|  |  |  | Amonia as N | BOD | Faecal Coliforms | Nitrogen (Total) | Phosphorus (Total) | pH
|  |  | Units of measure | mg/L | mg/L | cfu/100mL | mg/L | mg/L | pH
Sample date | Analysis Date | Date results published
2020-08-19 | 2020-08-25 | 2020-08-30
2020-09-16 | 2020-09-22 | 2020-09-28
2020-10-21 | 2020-10-30 | 2020-11-04
2020-11-20 | 2020-12-01 | 2020-11-30
2020-12-15 | 2020-12-24 | 2021-01-06
2020-01-07 | 2021-01-15 | 2021-01-20
2021-02-02 | 2021-02-10 | 2021-02-15
2021-03-03 | 2021-09-16 | 2021-09-17
2021-04-08 | 2021-04-19 | 2021-04-28
2021-05-04 | 2021-05-13 | 2021-05-20 | `
2021-06-04 | 2021-06-16 | 2021-06-23
2021-07-07 | 2021-07-14 | 2021-07-21
2021-08-06 | 2021-08-06 | 2021-08-17
2021-09-01 | 2021-09-10 | 2021-09-15
2021-10-07 | 2021-10-15 | 2021-10-21
2021-11-02 | 2021-11-11 | 2021-11-20
2021-12-01 | 2021-12-10 | 2021-12-15
2022-01-05 | 2022-01-14 | 2022-01-20
2021-02-01 | 2022-02-10 | 2022-02-10
2022-03-01 | 2022-03-10 | 2022-03-20
2022-04-12 | 2022-04-12 | 2022-04-20
2022-05-05 | 2022-05-16 | 2022-05-20
2022-06-02 | 2022-06-20 | 2022-06-25
2022-07-05 | 2022-07-14 | 2022-07-20
2025-04-02 | 2025-04-25 | 2025-04-30 |  | 0.2 | <2 | 10 | 2 | 0.08 | 7.1